## Comp Inq Form
Altronic
1110 Trmbull Ave
Girard, OH
44420
330-545-9768
e-mail: altronic.panels@hoerbiger.com
(When filling out this form electronically, save file with either Company or Application Rererence and email)
Your Name: | [7 empty] | Application Reference:
E-mail address: | [7 empty] | Date of Inquiry:
Company Name: | [7 empty] | Quote Request Date:
Phone # : | [7 empty] | Requested Delivery:
Qty. of Panels:
Prime Mover: | [7 empty] | Driven Equipment:
Manufacturer: | [8 empty] | Process:
Model: | [8 empty] | Type:
Mfg's OEM controls: | [8 empty] | Mfg.:
Model:
Local environment: |  |  |  | Climate: | [6 empty] | Technology Selection
| On shore |  |  |  | Temperate | [6 empty] | Digital annunciator
| Off-shore (corrosive atmosphere) |  |  |  | Tropical | [6 empty] | DE-3000
| H2S gas |  |  |  | Artic | [6 empty] | DE-4000
| CO2 gas |  |  |  | Desert | [6 empty] | Other
Hazardous Area Classification: |  |  |  | Enclosure Type: | [10 empty] | Enclosure material:
| Division 2, Class I, Group C & D |  |  |  | Front & rear access, fixed insert, window | [10 empty] | Powder coated carbon steel
| Division 1, Class I, Group D |  |  |  | Front access, swing insert, window | [11 empty] | Custom color :
| Group B ( H2 gas ) |  |  |  | Insert only (retrofit to existing enclosure) | [10 empty] | 304 SS
| ATEX Zone 2 (Europe) |  |  | Enclosure Accessories: | [11 empty] | 316 SS
| Panel tag - CSA |  |  |  | Fold-down table - laptop PC
| Panel tag - CSA - ATEX - CE |  |  |  | Gland plate - electrical entrances | [9 empty] | Panel Stand:
| Document submittal package |  |  |  | Reverse mount stand w/ cover plate | [10 empty] | None required
| Other - specify |  |  |  | Solid front door (delete window) | [10 empty] | Req'd height: 30"
Pnuematic Supply Pressure Available: | [6 empty] | Pressure tubing and fittings:
| Customer shall furnish clean & dry air/gas. | [6 empty] | 316 SS, std w.t., welded seam (ACI standard)
| Instrument Air | 120 # | PSIG |  |  |  |  | 316 SS, std w.t., seamless (Int'l, H2S, CO2)
| Instrument Gas | specify | PSIG |  |  |  |  | 316 SS, XH w.t., seamless (high press, H2S, CO2)
| Regulated pressure at source | [6 empty] | Tube fittings - plated steel, Swagelok
| Un-regulated pressure at source | [6 empty] | Tube fittings - 316 SS, Swagelok
| ADD coalescing filter (liquid aerosols removal) | [6 empty] | Transducer calibration - 3-way valve
|  | w/ automaic liquid dump | [5 empty] | Transducer calibration - block valve & bleed valve
1/4" tube connections to skid
3/8" tube connections to skid
Engine ignition type: | [6 empty] | Fuel Valve Type:
| Waukesha CEC |  | Altronic I |  |  |  |  | 690 040-1 (2", CD pwr) | [5 empty] | M5081-FS-B ( 2", 24V to hold open)
| Wauk ESM ( IPM ign module ) |  | Altronic II |  |  |  |  | 690 050-1 (2", 24V pwr) | [5 empty] | M5081-P ( 2", pressure to open)
| Cat G3300 w/ Altronic V |  | Altronic III |  |  |  |  | Cat-ASCO solenoid (24V) | [5 empty] | M5081-B ( 2", 24V to close)
| Cat G3400 w/ Altronic III |  | Altronic V |  |  |  |  | Normal solenoid (24V) | [5 empty] | M5081-C ( 2", CD ignition to close)
| Cat G3400 w/ DIS |  | Altr CPU-95 |  |  |  |  | Other (specify): | [5 empty] | M2582-B ( 1", 24V to close)
| Cat G3400LE w/ EIS |  | Altr CD-200 | [10 empty] | M2582-C ( 1", CD ignition to close)
| Cat G3500 w/ ESM ( EIS ) |  | Altr CPU-2000
| Cat G3500 w/ ECM-AFRC ( EIS ) | [5 empty] | Power Available for Control Panel:
| Cat G3500 w/ ADEM IIII ( EIS) | [6 empty] | 24 VDC | [5 empty] | Local utility electrical grid
| Cat G3600 w/ ESS ( EIS ) | [6 empty] | 12 VDC | [5 empty] | On-site electrical generator
| Cat G3600 w/ ADEM IIII ( EIS ) | [6 empty] | 115-220 VAC | [5 empty] | Engine driven alternator
[8 empty] | CD ignition G lead | [5 empty] | Solar panel w/ batteries
End Device Discrete Signal Type:
Normally Open (closed contact to ground at end device - single wire system)
Normally Closed (fail safe - open contact at end device - 2-wire system)
Speed Input Signal:
| Magnetic pickup ( specify # of ring gear teeth or eng. model ) | [8 empty] | Overspeed ( set point = ? )
| CD Ignition G lead ( specify eng. model & ignition ) | [8 empty] | Underspeed ( set point = ? )
Stand-alone hourmeter (Altronic DH-100A)
Engine Starting Controls: | [8 empty] | Compressor Pre-Lube:
| Push to crank - manual pneumatic | [8 empty] | Manual - BY OTHERS
| Push to crank - manual electric | [8 empty] | Push to lube - pneumatic
| One-button (DE-3000 or DE-4000) | [8 empty] | Annunciator controlled - DD-40NTV
| Remote start-stop (DE-3000 or DE-4000) | [8 empty] | Annunciator controlled - DE-3000 | [6 empty] | / DE-4000
Auto start-stop (DE-3000 or DE-4000)
Engine Pre/Post-Lube:
Engine Speed Control - pneumatic: | [9 empty] | Manual - BY OTHERS
| Pneumatic - manual - gauge & regulator | [8 empty] | Push to lube - pneumatic
| Pneumatic - manual & auto - gauges, regulator, & selector | [8 empty] | Annunciator controlled - DD-40NTV
| Automatic - see SET POINT CONTROL below | [8 empty] | Annunciator controlled - DE-3000
Engine Speed Control - electronic governor: | [8 empty] | Emergency Stop Control:
| Manual Rated speed signal - potentiometer | [8 empty] | Local - jumbo red button - side of panel
| Idle / Rated - mode selector switch | [8 empty] | Button bump guard
| Automatic speed signal - see SET POINT CONTROL below | [8 empty] | Remote - on location - interposing relay in panel
Remote - via communications (NTV, DE, or Exacta 21)
Engine Air-Fuel Ratio Control: | [8 empty] | Set point controller:
| EPC-50 - rich-burn, single bank only | [8 empty] | DSG-1611DUPS - 1-channel, linear output only
| EPC-120 - rich-burn, single or dual bank | [8 empty] | DSG-1682DUPS - 1-channel, PID loop
| EPC-100E - rich-burn, single/dual bank, extra features | [8 empty] | DE-1500 - 2-channel, PID loop
| EPC-150 - lean-burn, single/dual bank | [8 empty] | DE-3000 - 2 or 4-channel, PID loop
| EPC-250 - fuel admitted engines only | [8 empty] | DE-4000 - 4-channel, PID loop & linear output
| AFR-500 - | [8 empty] | DE-4000 - 4-channel, PID loop & linear output
SET POINT CONTROL |  |  | Output of controller:
| Suction pressure |  |  | Engine speed | [6 empty] | Suction throttling valve
| Discharge pressure |  |  |  | I/P (3-15 psig) | [6 empty] | I/P (3-15 psig)
| Engine air manifold |  |  |  | 4-20 mA or 1-5 VDC | [6 empty] | 4-20 mA
| Other process |  |  | Recycle valve
[5 empty] | I/P (3-15 psig) | [5 empty] | Rotary screw - turn valve or slide valve
| Output cascade |  |  |  | 4-20 mA | [6 empty] | (Pulsed load-unload power to solenoids)
Process valve control:
| Suction valve |  |  | Manual (AMOT valve) | [5 empty] | Automatic - Exacta 21
| Discharge valve |  |  | Manual (AMOT valve) | [5 empty] | Automatic - Exacta 21
| Blowdown valve |  |  | Manual (AMOT valve) | [5 empty] | Automatic - Exacta 21
| Bypass valve |  |  | Manual (AMOT valve) | [5 empty] | Automatic - Exacta 21
| Purge valve |  |  | Manual (AMOT valve) | [5 empty] | Automatic - Exacta 21
| Compressor unloader device |  |  | Manual (AMOT valve) | [5 empty] | Automatic - Exacta 21
Communications Requirements: | [5 empty] | Remote data required:
Modbus RTU slave - via RS-485 port | [6 empty] | First-out fault - channel #
Modbus RTU slave - via RS-232 port | [6 empty] | Unit Status (stop - run)
Ethernet to RS-485 adapter | [6 empty] | Engine speed
Other - please specify | [6 empty] | Analog process values
(temperatures & pressures)
Pressures: (Check the appropriate boxes for required shutdowns and fill in operating pressure)
Points | PROCESS PRESSURE |  | Operating Pressure (psi) | Low S/D - Class A, B, or C | High S/D - Class A, B, or C | Low-High Alarm |  | 2-1/2" set point gauge | 4-1/2" Altronic 45PHL | 4-1/2" DSG-1611DUPS | DE-3000 display | DE-4000 |  | electronic - transducer | Calibration valve (test-op) | Pulsation dampening valve
1 | Suction - stage 1
2 | Discharge - stage 1
3 | Suction - stage 2
4 | Discharge - stage 2
5 | Suction - stage 3
6 | Discharge - stage 3
7 | Suction - stage 4
8 | Discharge - stage 4
9 | Engine oil
10 | Compressor oil
11 | Engine jacket water
12 | Auxiliary water
13 | Engine air manifold (left bank)
14 | Engine air manifold (right bank)
15 | Differential - engine oil filter
16 | Differential - compressor oil filter
17
18
19
Temperature Inputs: (Check the appropriate boxes for required shutdowns and fill in operating data)
Points | PROCESS TEMPERATURE |  | Operating Temp. (specify) | Units (deg F or deg C) | High S/D set point | Thermocouple - J or K | RTD - 3-wire, 100 ohm | Local mounted device | 2-1/2" set point gauge | DPYH series pyrometer | DSM series pyrometer | DSM series pyrometer | DE-3000 display | DE-4000
1 | Engine jacket water |  | 210 | F | 215
2 | Engine air manifold - left bank |  | 150 | F | 154
3 | Engine air manifold - right bank |  | 150 | F | 154
4 | Engine oil |  | 200 | F | 210
5 | Auxiliary water |  | 130 | F | 134
6 | Compressor suction - stage 1 |  | 80 | F | 120
7 | Compressor suction - stage 2 |  | 130 | F | 140
8 | Compressor suction - stage 3 |  | 130 | F | 140
9 | Compressor discharge - cylinder # 1 |  | 320 | F | 340
10 | Compressor discharge - cylinder # 2 |  | 320 | F | 340
11 | Compressor discharge - cylinder # 3 |  | 320 | F | 340
12 | Compressor discharge - cylinder # 4 |  | 320 | F | 340
13 | Compressor oil temperature |  | 170 | F | 180
14 | Engine exhaust - power cylinders |  | 1100 | F | 1200
15 | Engine exhaust - common - left bank |  | 1050 | F | 1150
16 | Engine exhaust - common - right bank |  | 1050 | F | 1150
17 | Engine bearings - main |  | 200 | F | 230
18
19
20
Discrete Inputs from Dry Contact Closures: (Check the appropriate boxes for required shutdowns)
Points | DISCRETE INPUTS |  | Shutdown | Alarm | Class A, B, or C
1 | Low level - engine jacket water |  |  |  | A
2 | Low level - auxiliary water |  |  |  | A
3 | Low level - engine oil |  |  |  | A
4 | Low level - compressor oil |  |  |  | A
5 | Low level - scrubber - stage 1
6 | Low level - scrubber - stage 2
7 | Low level - scrubber - stage 3
8 | High level - scrubber - stage 1 |  |  |  | A
9 | High level - scrubber - stage 2 |  |  |  | A
10 | High level - scrubber - stage 3 |  |  |  | A
11 | High level - scrubber - fuel |  |  |  | A
12 | High vibration - engine
13 | High vibration - compressor
14 | High vibration - cooler fan # 1
15 | High vibration - cooler fan # 2
16 | High vibration - from VSM instrument |  |  |  | A
17 | Detonation - engine - DET-1600 instr. |  |  |  | A
18 | No flow - cmprs lube monitor - left |  |  |  | B
19 | No flow - cmprs lube monitor - right |  |  |  | B
20 | Governor fault - from GOV-10 |  |  |  | A
21 | Ignition fault - from CPU-95/2000 |  |  |  | A
22 | Caterpillar ADEM III shutdown |  |  |  | A
23 | Waukesha ESM shutdown |  |  |  | A
24 | Emergency stop - local |  |  |  | A
25 | Emergency stop - remote |  |  |  | A
26 | Gas detection - LEL |  |  |  | A
27 | Fire eye |  |  |  | A
28 | High level - station filter-separator |  |  |  | A
29
30
31
Control / Other Requirements not listed in this form:
List any specific requirments, "Sequence of Operation", or control philosophy.
List and auxiliary equipment or functions needed in control system.
Comments
Comments
Comments
`